## Slide 1: Improving output of images
Xiaohui Zhu, Adam Hitchcock (McMaster)
Writing_high_quality_images_from_IDL.ppt 20-Oct-16
GOALS: save a graphical image file that preserves ALL of the quality of the images

## Slide 2: example
013-mag-cell.axb; data is [671,847). If use any of the image writers in aXis2000 they only get the data in the Main window display, which in most cases is 360*SCL maximum dimension , where SCL is the scale factor in axis_win.ini. So for this data you need SCL = 2.4 to get all the pixels
Tvscl, a.d where a=axb_load(file=‘013-mag-cell.axb’)
Screen shot of
Same area in
ptycho-mtb-figure_02.tif

## Slide 3: Using ILD command line processing
IDL> a=axb_load(file=‘013-mag-cell.axb’
IDL> q=a.d ; the data array
IDL> r=indgen(256)
IDL> g=indgen(256)
IDL> b=indgen(256)
IDL> scl = 255/(max(q)-min(q)) ; scale the data to fill 0-255 (8-bit)
IDL> e = fix((q-min(q))*scl) ; convert scaled data (full range) to byte
IDL> write_png, 'test.png', e, r, g ,b ; writes a loss-less png file
Is it any better ???
At least it is as good !!